Title:  XXXXX  Waste Anesthetic Gases Program

Revision: 1.0

# <<INSERT HERE>>

Policy #:		 XXXXX

Origination Date:	 XXXXX

Last Review Date:	 XXXXX

SECTION: ENVIRONMENT OF CARE/EMPLOYEE HEALTH

PURPOSE:

- Prevent or reduce occupational exposure to anesthetic gases

- Establish standards regarding the use and monitoring of anesthetic gases

- Create a standard process for notification and training of employees and staff at risk.

- Establish a system-wide program for monitoring and evaluating risk of exposure to anesthetic gases at <<INSERT HERE>> sites

- Ensure compliance with federal, state, OSHA, and other requirements related to occupational exposure to anesthetic gases

SCOPE

This policy applies to all sites, departments, and programs where any type of anesthetic gas is used, to include all departments listed in Appendix A.

DUTIES

This policy reflects a Duty to Avoid Unjustifiable Risk and Harm.  This is the duty that we all owe each other. It is the highest duty. This is the duty to perform our daily work in a way that avoids causing risk or harm to one’s self, fellow employees, patients, visitors. Such harm may be potential or actual.

RISKS of NON-COMPLIANCE

The risks of not complying with this policy include harm to the organization’s relationship with its clients and stakeholders, harm to other employees, harm to the organization’s customers, unsafe conditions, and financial loss to the organization.

DEFINITIONS

OSHA – Occupational Safety and Health Act

ACGIH – American Conference of Governmental Industrial Hygienists

NIOSH – National Institute for Occupational Safety and Health

TWA – Time-weighted average concentration.  May also be used to refer to 8-hour samples or 8-hour exposure limits.

PEL – Permissible Exposure Limit

TLV – Threshold Limit Value

STEL – Short Term Exposure Limit, typically for samples collected over 15-minute duration

REL – Recommended Exposure Limit as set by NIOSH during an 8-hour shift

Excursion – Limits calculated using a multiplier of the occupational exposure limit when a STEL is not otherwise specified.  Excursion limits are available for thirty minute or ceiling durations.

Passive monitoring-- (badge) is a convenient personal exposure monitoring method.  Badges are available for all of the common anesthetic gases used in the United States.

Active monitoring-- (pump with tube or filter) is the standard method for exposure monitoring, often considered to produce more accurate results.  Active monitoring is still the preferred method for area monitoring and for sampling aerosols or particulate.

Real-time monitoring-- (meter) is a useful tool for area spot checks, leak testing, and when immediate results are needed.  Moderately easy-to-use ionization detectors are available for most chemicals, excluding waste anesthetic gases.  Portable gas analyzers are more technical and expensive monitors, which can analyze a wider variety of gases.

Enhanced Monitoring Schedule – The enhanced monitoring schedule occurs in response to incidents, exposures, or high levels of anesthetic gases.  Enhanced monitoring is listed in Appendix B and highlighted in red color.  Monitoring done under enhanced schedule will be paid by the department or division rather than paid by Employee Health.

Routine Monitoring Schedule—Shown on Appendix A of this policy in highlighted color green or yellow.  The routine monitoring schedule is used to establish baseline levels or when recent monitoring shows anesthetic gases to be within acceptable levels.  Monitoring done under routine schedule will be paid by the <<INSERT HERE>>  department rather than the operational unit or division.

- Policy:

- Certain departments and programs at utilize anesthetic gases that pose potential risk to staff through either short-term acute contact or long-term low level exposures.  These departments and programs are listed in Appendix A.

- Employees and Medical Staff working in an area considered potentially at risk of exposure to anesthetic gases will be notified of the potential risk and trained on methods known to reduce exposure.

- Employees and Medical Staff working in an area considered potentially at risk of exposure to anesthetic gases will be informed of the process for reporting concerns or potential exposures.

- Departments and programs that utilize anesthetic gases will be subject to the routine monitoring schedule highlighted green in Appendix A of this policy.

- Departments with recent incidents, exposures, or those found with levels in excess of the limits listed in Appendix B will be subject to the enhanced monitoring schedule highlighted yellow or red in Appendix A.

- Persons who have been potentially exposed to hazardous gases or vapors in excess of the limits listed in Appendix B will be notified as soon as is practicable, no later than 15 days after discovery, and will have pertinent information included in their confidential Employee Health record.  This notification will include department or division leaders, the Legacy Safety Officer, a representative from Employee Health, and a representative from Employee Relations.

- Departments or programs that are bringing in equipment, substances, or services listed in Appendix A of this policy will coordinate with the Safety Officer for a risk assessment.

- Responsibilities

Safety Officer will maintain a list of areas and substances subject to this policy in Appendix A and will review and update Appendix A and Appendix B annually or as needed to reflect current best practices or regulations.  The Safety Officer will also be responsible for coordination of monitoring by outside contractors, training on monitoring when conducted by internal departments, and for approving payment by Employee Health of routine monitoring invoices.

Department Directors will inform contract anesthesia providers and anesthesia groups of this policy and of their role in reducing potential risk from exposure to hazardous vapors and gases as well as enforce this policy as necessary.  Director will also be responsible for facilitation payment of invoices associated with incidents, exposures, or the enhanced monitoring as outlined in Appendix B.

Employee Health will notify onboarding or transfer employees of the potential for exposure to substances listed in Appendix A and of known or suspected risks associated with such exposure.  Employee health will document exposures in the confidential record of employees or facilitate documentation of exposures for non-employees with the appropriate contact.  Employee Health will be responsible for conducting annual training for all departments listed in Appendix A of this policy.  Employee Health will make payment for routine and baseline monitoring.

Anesthesia Providers and Nurse Anesthetists will conduct an inspection of the anesthesia machines prior to each use to ensure there are no leaks and that the scavenger system is functional, hoses are not damaged, and that connections are tight.  They are also responsible to follow known practices to reduce potential exposures.

Supervisors will ensure that this policy is followed in daily department operations and will coordinate with other departments to enforce and update this policy as needed.  This responsibility includes acting as a liaison with the Safety Officer, Employee Health, or with outside contractors as needed for monitoring or follow up.

Circulators and Anesthesia Technicians will utilize a DoG device during procedures that involve induction or where gases may be expected to release into room air via an open circuit.

Clinical Engineering will ensure that anesthesia machines are maintained per manufacturer recommendations and will conduct periodic audits of equipment to verify it is free of leaks and the scavenger systems are operating normally.  Clinical engineering will notify Safety Officer when any new equipment is installed or when routine leak testing indicates a potential for exposure.

Facilities Engineering will conduct periodic measurements of ventilation exchanges and will maintain ventilation testing and maintenance records.  Facilities Engineering is also responsible for maintenance and repair of the medical gas disposal system.

Employees and Staff of departments and programs listed in Appendix A will follow best practices, and this policy, to reduce potential exposure to hazardous gases and vapors.  They will notify Employee Health immediately of any signs or symptoms of over-exposure and will inform the Safety Officer of any concerns, near-misses, or suspected exposures.

Department Managers will ensure the routine or enhanced monitoring schedule is followed as outlined in Appendix A and as required by the Safety Officer. They will enforce best practices and training requirements outlined in this policy.  Managers and Directors will be responsible to report suspected leaks, exposures, or employee concerns to the Safety Officer and will coordinate any necessary notification or follow up as determined by Environment of Care and/or Employee Health.

- Specific Procedures

- Appendix review and applicable guidelines

- Contract and service agreement for outside monitoring

- Invoicing and payment of routine monitoring

- Invoicing and payment of accelerated or post-incident monitoring

- Risk notification for employees and staff

- Exposure notification for employees and staff

- Required training of employees and staff

- Required training of managers and directors

- Pre-use inspection of anesthesia machines

- Best practices for reducing risk of anesthesia exposure

Appendix review and applicable guidelines

Appendix A and B will be maintained by the Safety Officer and will be based on the PEL or STEL defined by NIOSH, OSHA, or WISHA rules, whichever is the most stringent.  State OSHA programs enforce rules on employee exposure for nitrous oxide.  Recommended health-based exposure guidelines for anesthetic gases are available from ACGIH and NIOSH.  Available occupational exposure limits established by state OSHA programs, ACGIH, and NIOSH are summarized in Appendix B.

Contract and service agreement for outside monitoring

An annual service agreement will be established and maintained with one or more vendors qualified to perform monitoring, response, and consultation related to hazardous gases and vapors.  The Safety Officer will perform oversight duties for the vendors and will be responsible for coordinating the selection and review process of vendors on the agreements.

Routine monitoring

The frequency of periodic monitoring will be determined based on ratio of exposure to criteria levels, the toxicity of the compound, and the variability of the exposure activity.  Appendix A outlines the frequency for routine monitoring and enhanced monitoring.

Invoicing and payment of routine monitoring

Routine and baseline monitoring costs will be invoiced to the Safety Officer by the outside contract provider and upon approval forwarded to Employee Health for payment.  Internal costs, such as purchase or rental of necessary equipment, procurement of passive badges, and upkeep of monitoring equipment will also be invoiced to the Safety Officer for approval and forwarded to Employee Health for payment.  An annual budget will be established and maintained via the Consultant budget held by Employee Health and will be included in annual budget requests based on past spending or anticipated changes in upcoming spending.

Enhanced monitoring and post-incident monitoring

If testing levels are higher than criteria allows in Appendix B, exposure controls and corrective actions, such as work practice revision or air exchange improvements, must be expedited and the enhanced monitoring schedule implemented.   After the revisions are made, follow up monitoring should be performed within 30 days.  If monitoring indicates acceptable levels of exposure, then monitoring frequency may return to routine monitoring as determined appropriate by the Safety Officer.

Invoicing and payment of enhanced or post-incident monitoring and spill response

Enhanced and post-incident monitoring will be invoiced to the Safety Officer for approval and then forwarded to the Director for facilitation of payment.  These costs, including rental or purchase of necessary equipment or passive monitoring devices, will be absorbed by the department or division.  Post-incident monitoring will include the follow-up testing done within 30 days and any subsequent monitoring performed until the levels have been normalized and the Safety Officer has approved a return to routine monitoring.

Risk notification for employees and staff

Risk notification and training on risk mitigation will occur upon hire or transfer for all employees and staff, then annually thereafter.  Notification and training will occur more frequently in departments or programs where incidents or exposures have occurred or where levels in excess of those listed in Appendix B have been detected.

Reporting of concerns by employees and staff

Employees and staff will be made aware of the process and resources available for reporting concerns or safety issues.  This will occur upon hire or transfer, then annually thereafter.  Notification will occur more frequently in departments or programs where incidents or exposures have occurred or where levels in excess of those listed in Appendix B have been detected.

Required training of employees and staff

Employees and staff will be provided training upon hire or transfer and annually thereafter.  Training will occur more frequently in departments or programs where incidents or exposures have occurred or where levels in excess of those listed in Appendix B have been detected.  Training will be conducted by Employee Health or during in-person instruction that meets curriculum criteria approved by Employee Health.

Contract anesthesia groups will be required to provide training to their medical staff upon hire or transfer and annually thereafter.  Training may be conducted using the presentation provided or will meet curriculum criteria approved by Employee Health.

Required training of managers and directors

Managers or Directors over areas listed in Appendix A will be provided training upon hire or transfer and annually thereafter.  Training will be conducted by Employee Health via the or during in-person instruction that meets curriculum criteria approved by Employee Health.

Visual inspection of anesthesia machines

Each anesthesia provider will be responsible for conducting a daily inspection of the anesthesia machine to ensure that all connections are properly made, components are functioning correctly, and to verify hoses and tubing are free of obvious leaks.  Any problems will be reported immediately to the Supervisor.

Daily leak testing of anesthesia machines

A low pressure leak test will be conducted daily by the anesthesia provider to measure the leak rate of low-pressure components.  The low-pressure leak rate should be less than 100 ml/minute; if it is greater than 1 liter/minute, the machine should not be used.

The test is easily performed:

  - Assemble the anesthesia machine as in the usual manner for clinical anesthesia with breathing tubes, Y-piece, breathing bag, and high pressure hoses or cylinders connected.

  - Occlude the Y-piece securely with the thumb or palm of hand.

  - Pressurize the breathing system to 30 cm water, observed on the absorber pressure gauge. This may be accomplished by using the oxygen flush valve.

  - Add a sufficient flow of oxygen through the low-range flowmeter to maintain a constant pressure of 30 cm water in the breathing system. The oxygen flow required to maintain the pressure is a measure of the leak rate.

Note:  This test may be abbreviated by using an oxygen flowrate of 100 ml/minute. If pressure in the system increases, the breathing system is below the maximum allowed leak rate.

Best practices for reducing anesthesia gas exposures

1. Make sure the anesthesia machine is functioning properly and that there are no gross leaks or damaged tubing which would produce high level leaks.

2. Conduct a low pressure leak test daily.

3. Check that the scavenging system is activated prior to commencing anesthesia.

4. When masks are used to deliver anesthesia, get a good fit between the patient's face and the mask.

5.  When using induction, utilize the DoG device to assist with scavenging wasted gases.

6. If intubation is used, do not turn on the anesthetic gases until the patient is intubated.

7. Reduce anesthetic gas flows and provide oxygen, prior to removing ET tube from patients.

8.  Report any problems with the anesthesia machine, scavenging system, or ventilation, as soon as they are noticed, to the Supervisor.

9.  Report any signs/symptoms of anesthesia gas exposure to the Supervisor immediately.

- References

- Oregon Administrative Rules (OAR) 437-002-0360 Air Contaminants http://www.orosha.org/pdf/rules/division_2/2Z_437-002-0382_air_cont.pdf

- Washington Administrative Code (WAC) 296-841 Airborne Contaminants http://www.lni.wa.gov/WISHA/Rules/airbornecontam/PDFs/296-841Complete.pdf

- OSHA 29 CFR 1910.48 Formaldehyde http://www.orosha.org/pdf/rules/division_2/2Z_1048_formaldehyde.pdf

- WAC 296-856 Formaldehyde http://www.lni.wa.gov/wisha/rules/formaldehyde/default.htm

- OSHA 29 CFR  1910.1052 Methylene Chloride http://www.cbs.state.or.us/osha/pdf/rules/division_2/2Z_1052_methylene_chlo.pdf

- WAC 296-859 Methylene Chloride http://www.lni.wa.gov/wisha/rules/generaloccupationalhealth/HTML/62g_3.htm#WAC296-62-07470

- ACGIH Threshold Limit Values and Biological Indices (TLVs and BEIs)

- The following guidance documents are available for waste anesthetic gas:

  - A non-enforceable OSHA Directorate for Technical Support, revised May 2000, recommends workplace controls, cleanup and disposal methods, routine monitoring, medical surveillance, and hazard communication.

  - A NIOSH 2007 guideline document on Waste Anesthetic Gases also recommends exposure controls to prevent exposures.

  - A task force established by The American Society of Anesthesiologists (ASA) also published a guideline on Waste Anesthetic Gases: Information for Management in Anesthetizing Areas and the Post Anesthesia Care Unit (PACU).

- American Society of Anesthesiologists (ASA) Committee on Occupational Health of Operating Room Personnel.  Waste Anesthetic Gases: Information for Management in Anesthetizing Areas and the Postanesthesia Care Unit (PACU)

APPENDIX A – EXAMPLE DEPARTMENT MONITORING SCHEDULE

|  | Nitrous Oxide (N2O) |  | Halogenated Anesthesia (HAG) |
| --- | --- | --- | --- |
| Staff Type | TWA | STEL | Task-based measurement |
| Surgery |  |  |  |
| # RN | # A | # 1 | # 1 |
| # Tech | # A | # 1 | # 1 |
| # MD | # 1 | # B | # 1 |
| PACU |  |  |  |
| RN | A | 1 | 1 |
| Tech | A | 1 | 1 |
| MD | A | 1 | 1 |
| Endoscopy |  |  |  |
| RN | A | 1 | ! |
| Tech | A | 1 | ! |
| MD | A | ! | ! |
| FBC |  |  |  |
| RN | A | A | 1 |
| Tech | A | A | 1 |
| MD | A | A | 1 |
| Cath Lab |  |  |  |
| RN | A | ! | 1 |
| Tech | A | ! | 1 |
| MD | A | ! | 1 |
| Imaging |  |  |  |
| RN | A | 1 | 1 |
| Tech | A | 1 | 1 |
| MD | A | 1 | 1 |
| Emergency |  |  |  |
| RN | A | B | No HAG |
| Tech | A | B | No HAG |
| MD | A | B | No HAG |
| Routine Monitoring Monitoring Schedule Interpretations |  |  |  |
| Green (A) - Acceptable exposure demonstrated statistically (95% confidence or GM<10%). Discontinue monitoring unless there is a significant change in production, equipment, process, personnel or control measures that may result in new or additional exposure. Obtain new baseline every five years. |  |  |  |
| Yellow (1) - Monitoring due at least annually |  |  |  |
| Enhanced Monitoring B (?) - Need baseline data |  |  |  |
| Red (!) - Follow up monitoring due monthly until corrected, then move to yellow. |  |  |  |

| WAG Occupational Exposure Limit Thresholds - There are no current federal or state occupational health and safety laws regulating halogenated anesthetic gas exposure. Standard practice is to use criteria issued by NIOSH in 1977, which were discontinued. Criteria apply to the duration that the anesthetic is applied during a procedure. - Referenced limits are given in parts per million (ppm). - STEL / EXC –Ceiling limit values for exposures, not considered acceptable normal exposures. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Gas or Mixture of Gases |  | Washington DOSH |  |  | American Conference of Government Industrial Hygienists |  | NIOSH |
|  |  | PEL- 8-hr | Action Level | STEL / C | TLV- 8-hr | TLV-STEL | REL |
| Waste Anesthetic Gas (WAG) | Nitrous oxide | 50 | NE | 75 | 50 | NE | 25 |
|  | Sevoflurane (alone) | NE | NE | NE | NE | NE | 2 |
|  | Sevoflurane (with Nitrous oxide) | NE | NE | NE | NE | NE | 0.5 |
|  | Desflurane (alone) | NE | NE | NE | NE | NE | 2 |
|  | Desflurane (with Nitrous oxide) | NE | NE | NE | NE | NE | 0.5 |
|  | Isoflurane (alone) | NE | NE | NE | NE | NE | 2 |
|  | Isoflurane (with Nitrous oxide) | NE | NE | NE | NE | NE | 0.5 |
|  | Nitric oxide | 25 | NE | 38 | 15 | NE | n/a |

APPENDIX B-  Occupational Exposure Thresholds